3202 AVENUE G SHELL SPACE BUILD OUT

 - All finishes to match existing clinic -

* Black out ceilings.
* Install VCT floors - match to existing clinic

Specs available on finish legend

* Extend HVAC ducting.
* Add (1) new door and construct (2) new restrooms.

Finishes and fixtures in new restrooms to match existing clinic.

Specs available on finish legend.

* Install lighting.- LED
* Install wall electrical outlets in restrooms and on walls opposite restrooms.
* Paint walls to match existing clinic.

 Sherwin Williams Oriental Ivory # SW7541

 Sherwin Williams Raindrop # SW6485 accent wall

Please email further requests for information to:

nterrill@medinahospital.net.

Pre-bid conference and property tour will be held on January 29th 2021 at 2:00 pm.