3202 AVENUE G SHELL SPACE BUILD OUT

- All finishes to match existing clinic -

* Black out ceilings.
* Install VCT floors - match to existing clinic

Specs available on finish legend

* Extend HVAC ducting.
* Add (1) new door and construct (2) new restrooms.

Finishes and fixtures in new restrooms to match existing clinic.

Specs available on finish legend.

* Install lighting.- LED
* Install wall electrical outlets in restrooms and on walls opposite restrooms.
* Paint walls to match existing clinic.

Sherwin Williams Oriental Ivory # SW7541

Sherwin Williams Raindrop # SW6485 accent wall

Please email further requests for information to:

[nterrill@medinahospital.net](mailto:nterrill@medinahospital.net).

Pre-bid conference and property tour will be held on January 29th 2021 at 2:00 pm.